Volker Baecker
Montpellier RIO Imaging
MRI­TIGR
24/11/2011
Complex data at MRI

---
MRI - the facility
- regional imaging facility
- 3 departments – optics, cytometry, microtomography rx
- 11 locations
  crbm, inm, iurc, cirad, igh, lagaillarde, igmm, dbs, irb, ircm, isem
- 2010 – 620 active users, 189 groups, 67 machines
- 2011 – 641 active users, 226 groups, 65 machines
  (46 acquisition, 12 cytometer)
- 23 staff members

---
MRI - the facility

---
MRI - the facility

---
MRI - the facility

---
MRI - the facility

---
MRI - systems
- cellomics - fully automated microscope -
  high content screening
- widefield/confocal mosaic acquisition
- widefield/confocal time-lapse acquisition
- nanozoomer - slide scanner
- omx – structured illumination microscopy (superresolution)
- skyscan – microtomography rx

---
HCS - cellomics
disk array with 4 TB

---
Mosaic acquisition
Image size 100MB-5000MB
6088×7667×119x8bit

---
Time-lapse acquisition
multichannel
timelapse
~20 GB

---
Slide scanner - Nanozoomer
97920x47872
24480x11968
 6120x 992
 1530x 748
 1197x 409
  598x 204
  382X 187
.ndpi - NanoZoomer Digital Pathology Image
image size 200MB-6000MB

---
spim - omx
multiple GB files

---
MRI – current data management
deconvolution
hrm 3TB
Image analysis
ImageJ / FIJI
MATLAB
Imaris
Volocity
Definiens
...
New York
12TB
+22TB
cciti
tele-pathology 6TB
backup 1.5TB
Utah
14TB
+24TB
Local
disks
30TB
sftp 8TB
+1TB/45days
WIDE 2TB
Nebraska
4TB
cellomics
tomo
12TB + 12TB
skyscan

---
Image formats and metadata
- metadata necessary to interpret image
- different file formats can handle different sets of metadata
- different applications handle different file formats
- when converting from one file format to another,
  metadata are often lost
- Minimal data needed:
  - data-format (8-bit, 16-bit,...), byte-order, xyzct, width, ...
  - voxel size, time interval
  - information about optical system:
    - numerical aperture, magnification, wavelength, type of microscope, pinhole size

---
Open microscopy envirenment
OME ontology for microscopy

---
Web Image and Data Environment - WIDE
- upload from microscopes
- central storage
- indexed in database
- web-interface
  - online applications
  - data-management
    - sharing
  - metadata
  - history
- applications can access data on the server directly

---
Network speed
- sftp on gigabit net 16-25MB / sec
  1GB / 40sec-60sec
- it can take hours to transfer 10GB
- do not move data around

---
If the mountain will not come to the prophet, the prophet will go to the mountain
- Remote terminal
  - move only screenshots around
  - application can run where the data is
  - fast
  - no help for centralizing data
  - no help with formats / metadata
  - no help for sharing data
  - no help for concurrent access

---
If the mountain will not come to the prophet, the prophet will go to the mountain
- Distributed agent system
  - user wants to run a job J on data D
  - D is on machine M in the network N
  - user tells a job manager what he wants to do
  - job manager looks for an agent that can do the job in all associated networks
  - job manager transfers agent J to machine M
  - agent J does the job
  - application can run where the data is
  - no data centralization neccessary
  - system can help with formats / metadata
  - system can provide data sharing
  - system can control concurrent access
  - more difficult to apply for highly interactive applications
  - security concerns
  - system doesn't exist (yet?)

---
If the mountain will not come to the prophet, the prophet will go to the mountain
centralized data - access via web/application server
  - application can run where the data is
  - system helps centralizing data
  - system can help with formats / metadata
  - system can help with sharing data
  - system can control concurrent access
  - data needs to be moved once
  - limited interactivity
    - additional access via specific client programs possible

---
Thank you!
Questions / Discussion